CERTIFICATE OF OCCUPANCY CHECKLIST


1. FINAL ELECTRICAL INSPECTION
____

2. FINAL PLUMBING & MECHANICAL INSPECTION
____

3. GUTTERS AND DOWNSPOUTS INSTALLED
  ____

4. PROPERTY ADDRESS DISPLAYED ON FRONT DOOR OR MAILBOX    ___

(4" HIGH NUMBERS & ½” WIDE)  (MUST CONTRAST WITH HOUSE)

5. DRIVEWAY COMPLETED
____

6. FINAL GRADING COMPLETED ____
RETAINING WALLS COMPLETED _____

7. CARBON MONOXIDE DETECTOR INSTALLED _____ 

(2009 IRC requirement if any fuel burning appliance is installed in the new or existing home)

8. SMOKE DETECTORS WORKING
____
( IF ALARM SYSTEM  BEING USED IN CONJUNCTION 

WITH SMOKE DETECTORS, A LETTER FROM ALARM COMPANY MUST BE SUBMITTED. )

9. HANDRAILS AND GUARDRAILS COMPLETED ____ (handrails 34” to 38”max – guardrails 36” min)
10. EXTERIOR DOOR HARDWARE INSTALLED ____ ( USE OF DOUBLE KEYED DEADBOLTS ARE 

NOT PERMITTED PER CODE)

11. BLOWN IN ATTIC INSULATION MUST HAVE A DEPTH GAUGE VISIBLE ___ 

(or Certificate from installer)
12. ATTIC ACCESS PANEL INSTALLED ____ (22" X 30") (Insulated per code requirements)
13. WELL WATER TESTED ____ ( RESULTS MUST BE SUBMITTED AT FINAL INSPECTION )
14. SEPTIC SYTEM APPROVED ____

15. BEDROOM WINDOWS OPEN PROPERLY FOR EMERGENCY EGRESS ____ (44” Max. sill height)
16. HOT WATER HEATER ON ___  WATER SYSTEM ON _____ WATER TEMPERATURE 120 MAX.
17. HVAC SYSTEM WORKING ____

18. THERMAL EXPANSION TANK INSTALLED ON WATER SYSTEM ____ ( PUBLIC WATER SYSTEM )

19. PUBLIC WATER METER INSTALLED _____ (backflow prevention installed)

20. CONDENSATION LINES TERMINATE  TO AN APPROVED LOCATION ____(NOT BELOW THE SLAB)
21. OPENINGS, CRACKS AND HOLES IN BASEMENT CONCRETE SLAB MUST BE SEALED ____

22. SIDEWALKS INSTALLED ____

23. EXHAUST FANS _____ (All must terminate outside in approved manner)

WHEN ALL ITEMS ABOVE ARE COMPLETED, A FINAL BUILDING INSPECTION CAN BE SCHEDULED.
Keystone Code Consulting & Enforcement

Office 610 866-9663 Fax 610-866-2664

